# Shower Chair

Item # 7931A

# Product Detail

•  Anodized aluminum frame is lightweight, durable and rust-resistant.
• Seat height is adjustable in 1" increments.
• Attractive platinum grey color.
• Available with or without backrest.
• Comes assembled with tool-free back attachment.
• Available in attractive retail package.
• Designed to meet the requirements of HCPCS code: E0245.
• Lifetime limited warranty.

| StockCode - Description | Overall Width | Overall Depth | Seat Width | Seat Depth | Minimum Seat Height | Maximum Seat Height | Weight Capacity |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 7921A-4 - With Backrest | 17" | 17" | 19 ¾" | 12" | 15" | 22" | 300 lb |